## Slide 1
A database permissions change, not an attack, stopped Cloudflare’s core traffic on 18 November 2025
“The issue was not caused, directly or indirectly, by a cyber attack or malicious activity of any kind.” — Cloudflare, 18 November 2025
11:28 → 17:06 UTC
5 h 38 min from the first customer errors to full restoration — derived from the published timeline.
Source: Cloudflare, “Cloudflare outage on November 18, 2025”, Matthew Prince. All times in this deck are UTC.
Notes: This is a reconstruction of the Cloudflare outage of the eighteenth of November two thousand twenty-five, built entirely from Cloudflare's own published account of it. Two things are worth fixing before anything else. The first is the window: customer impact began at eleven twenty-eight and every service was restored at seventeen oh six, five hours and thirty-eight minutes later, and every time in this deck is Coordinated Universal Time. The second is the cause, stated by Cloudflare in the sentence on this page: the outage was not caused, directly or indirectly, by a cyber attack or malicious activity of any kind. That matters because the failure behaved for almost three hours as though it were an attack, and the people responding to it reasonably believed that it might be.

## Slide 2
One feature file doubled in size and a fixed 200-feature limit turned it into a global 5xx event
The failure was in the ingestion of Cloudflare’s own generated configuration, not in the traffic that configuration governs.
NORMAL · CHANGE DEPLOYED
11:05
Database access control change deployed
CRITICAL · IMPACT STARTS
11:28
First errors observed on customer HTTP traffic
DEGRADED · MAIN IMPACT ENDS
14:30
Correct configuration file deployed globally
RECOVERED · ALL RESOLVED
17:06
All downstream services restarted and restored
TRIGGER
A change to one of Cloudflare’s database systems’ permissions made the query output duplicate entries into the feature file.
MECHANISM
The file doubled in size and passed the bots module’s preallocated limit of 200 features, against roughly 60 then in use.
SCOPE
Core CDN and security services, Turnstile, Workers KV, Dashboard, Email Security and Access were affected, in different ways.
RECOVERY
Core traffic was largely flowing as normal by 14:30, and all remaining services were restored at 17:06.
Cloudflare, “Cloudflare outage on November 18, 2025”. All times UTC.
02
Notes: This page is written so it can be forwarded on its own. The four moments across the top are the ones Cloudflare records. At eleven oh five a change to a database access control was deployed. At eleven twenty-eight that deployment reached customer environments and the first errors appeared on customer HTTP traffic. At fourteen thirty a correct configuration file was deployed globally and the main impact ended. At seventeen oh six every downstream service was restarted and the incident closed. Underneath, the chain in four parts. A permissions change made a generated query return duplicate rows. The feature file that query builds doubled in size. The bots module inside the core proxy preallocates memory for at most two hundred machine-learning features, well above the roughly sixty actually in use, and the oversized file crossed that limit. Everything downstream of that limit returned errors. The point to hold on to is where the failure sat: in the ingestion of configuration Cloudflare generates for itself, not in the traffic that configuration governs.

## Slide 3
Six product surfaces failed, and two of them degraded rather than stopped
Severity | Service or product | Impact as published
Critical | Core CDN and security services | HTTP 5xx status codes returned to end users.
Critical | Turnstile | Turnstile failed to load.
Critical | Workers KV | Significantly elevated HTTP 5xx errors, as requests to the KV front-end gateway failed with the core proxy.
Critical | Access | Widespread authentication failures until the rollback was initiated at 13:05; existing sessions unaffected, failed attempts returned an error page.
Degraded | Dashboard | Mostly operational, but most users could not log in because Turnstile was unavailable on the login page.
Degraded | Email Security | Processing and delivery unaffected. Temporary loss of an IP reputation source reduced spam-detection accuracy and prevented some new-domain-age detections; some Auto Move actions failed, all reviewed and remediated.
Response latency also rose across the CDN during the impact window: debugging and observability systems consumed large amounts of CPU automatically enriching uncaught errors with additional debugging information.
Cloudflare, “Cloudflare outage on November 18, 2025”, impact table. All times UTC.
03
Notes: Six product surfaces are named in the published account, and they did not all fail the same way. Four returned errors. Core CDN and security services returned HTTP five hundred errors to end users. Turnstile failed to load. Workers KV returned significantly elevated five hundred errors because requests to its front-end gateway went through the failing core proxy. Access saw widespread authentication failures until the rollback was initiated at thirteen oh five, though existing sessions were unaffected and every failed attempt returned an error page rather than reaching the target application. Two surfaces degraded instead. The dashboard stayed mostly operational, but most users could not log in because Turnstile was unavailable on the login page. Email Security kept processing and delivering mail, but lost access to an IP reputation source, which reduced spam-detection accuracy and stopped some new-domain-age detections; some Auto Move actions failed and Cloudflare states that all of them were reviewed and remediated. One effect sits outside the table: response latency rose across the CDN because the debugging and observability systems consumed large amounts of processor time enriching every uncaught error.

## Slide 4
The same bad file produced errors on the new proxy and silent false positives on the old one
Unrelated to this incident, customer traffic was being migrated to a new proxy version, FL2. Both versions were affected by the bad feature file, but the impact each one produced differed.
FL2 · THE NEW PROXY ENGINE
HTTP 5xx errors
Customers deployed on the new FL2 proxy engine observed HTTP 5xx errors for any traffic that depended on the bots module.
This also affected Workers KV and Access, which rely on the core proxy.
FL · THE PREVIOUS PROXY ENGINE
Silent bot-score failure
Customers on the old FL engine did not see errors, but bot scores were not generated correctly and all traffic received a bot score of zero.
Customers with rules that block bots would have seen large numbers of false positives.
Customers who were not using the bot score in their rules did not see any impact.
Observed fact: both proxy behaviours are stated in the published account; neither is inferred here.
Cloudflare, “Cloudflare outage on November 18, 2025”, request-path section. All times UTC.
04
Notes: An unrelated migration was in flight during the incident, and it split the customer experience in two. Cloudflare was moving traffic onto a new proxy engine called FL2. Customers already on FL2 saw HTTP five hundred errors for anything that depended on the bots module, and because Workers KV and Access sit behind the same core proxy, they failed too. Customers still on the older FL engine saw no errors at all. What they got instead was worse in a quieter way: bot scores were not generated correctly and every request received a bot score of zero, so any customer with a rule that blocks bots would have seen large numbers of false positives without an error page to explain them. And a third group saw nothing: customers who were not using the bot score in their rules were unaffected. Both behaviours are stated in the published account; neither is inferred here.

## Slide 5
The error rate rose and fell every five minutes until every database node produced the bad file
NORMAL
CRITICAL
DEGRADED
RECOVERED
11:05
11:28
13:05
14:30
17:06
First customer errors observed
Chart: 
| 11:00 | 11:20 | 11:28 | 11:35 | 11:45 | 12:00 | 12:30 | 13:05 | 14:24 | 14:30 | 15:00 | 17:06
Relative 5xx volume | 0 | 0 | 82 | 12 | 90 | 18 | 96 | 74 | 80 | 16 | 8 | 0
The feature file was regenerated every five minutes by a query on a ClickHouse cluster that was being gradually updated, so each cycle could produce either a good or a bad file — until every ClickHouse node generated the bad file and the failure stabilised.
Schematic reconstruction from the published account, not the original monitoring record. No error-rate magnitude is published.
Cloudflare, “Cloudflare outage on November 18, 2025”. Severity bands are this review’s reading of the published status column.
05
Notes: This is the page that explains why the diagnosis took as long as it did. The feature file is regenerated every five minutes by a query running on a ClickHouse cluster, and that cluster was being updated gradually rather than all at once. Bad data was produced only when the query happened to run on a part of the cluster that had already been updated. So every five minutes the network received either a good file or a bad one, and the whole system failed and then recovered and then failed again. Cloudflare calls that behaviour very unusual for an internal error, and it is exactly what a fluctuating external attack looks like. Eventually every node was generating the bad file and the failure settled into a stable failing state. The chart is a schematic reconstruction drawn from that description. The event times on the horizontal axis are published; the height of the line is not. No error-rate magnitude appears anywhere in the account, so the vertical scale carries no published value and should not be read as one.

## Slide 6
From the 11:05 access-control change to the first bypass at 13:05
NORMAL
CRITICAL
DEGRADED
RECOVERED
11:05
11:28
13:05
14:30
17:06
First bypass reduces impact
Time (UTC) | Severity | Recorded event
11:05 | Normal | Database access control change deployed.
11:28 | Critical | Deployment reaches customer environments; first errors observed on customer HTTP traffic.
11:31 | Critical | First automated test detects the issue; manual investigation starts at 11:32 and the incident call is created at 11:35.
11:32 | Critical | Through 13:05 the team investigates elevated traffic levels and errors to Workers KV. The initial symptom appeared to be a degraded Workers KV response rate causing downstream impact on other Cloudflare services. Traffic manipulation and account limiting were attempted.
13:05 | Degraded | Workers KV and Cloudflare Access bypass implemented and impact reduced: internal system bypasses fell back to a prior version of the core proxy.
1 h 37 min from the first customer errors at 11:28 to the first bypass at 13:05 — derived from the published timestamps.
Cloudflare, “Cloudflare outage on November 18, 2025”, incident timeline. Severity bands are this review’s reading of the published status column.
06
Notes: The first ninety-seven minutes, entry by entry. Eleven oh five, the database access control change is deployed and everything is still normal. Eleven twenty-eight, the deployment reaches customer environments and the first errors appear on customer HTTP traffic. Eleven thirty-one, an automated test detects the issue; manual investigation begins one minute later and the incident call is created at eleven thirty-five. From that point through thirteen oh five the team is investigating the wrong layer, and the account is candid about it: the visible symptom was a degraded Workers KV response rate causing downstream impact, so the mitigations attempted were traffic manipulation and account limiting. At thirteen oh five the first real relief arrives, when internal bypasses fail Workers KV and Cloudflare Access back to a prior version of the core proxy. That is one hour and thirty-seven minutes after impact began, and it happened before anyone knew what the trigger was.

## Slide 7
From confidence in the trigger at 13:37 to full restoration at 17:06
NORMAL
CRITICAL
DEGRADED
RECOVERED
11:05
11:28
13:05
14:30
17:06
All services resolved
Time (UTC) | Severity | Recorded event
13:37 | Degraded | Work focuses on rolling the Bot Management configuration file back to a last-known-good version; the file restore is the fastest of several parallel workstreams.
14:24 | Degraded | Creation and propagation of new Bot Management configuration files stopped, after identifying the module as the source of the 500 errors.
14:24 | Degraded | Test of the new file complete: recovery observed using the old version of the configuration file, and the fix accelerated globally.
14:30 | Recovered | Main impact resolved. A correct Bot Management configuration file deployed globally and most services start operating correctly; downstream services observe reduced errors.
17:06 | Recovered | All services resolved. All downstream services restarted and all operations fully restored.
3 h 02 min from impact start to main resolution, and 5 h 38 min to full restoration — derived from the published timestamps.
Cloudflare, “Cloudflare outage on November 18, 2025”, incident timeline. Severity bands are this review’s reading of the published status column.
07
Notes: The second half moves quickly once the trigger is identified. At thirteen thirty-seven the work narrows onto rolling the Bot Management configuration file back to a last-known-good version, with the file restore as the fastest of several parallel workstreams. At fourteen twenty-four two things happen: creation and propagation of new configuration files is stopped, and the test of the restored file completes successfully, at which point the fix is accelerated globally. At fourteen thirty a correct file is deployed everywhere and most services begin operating normally; downstream services start seeing reduced errors. The remaining two and a half hours are restarts, and at seventeen oh six every operation is fully restored. Three hours and two minutes from impact to main resolution, five hours and thirty-eight minutes to the end. Both durations are arithmetic on the published timestamps.

## Slide 8
Detection took three minutes; identifying the failing module took two hours and fifty-three
AUTOMATED DETECTION
3 min
11:28 impact starts to 11:31, the first automated test that detects the issue.
TIME TO IDENTIFY THE FAILING MODULE
2 h 53 min
11:31 detection to 14:24, when Bot Management was identified as the source of the 500 errors.
THE FAILURE ALTERNATED
The system failed and then recovered as good and bad files alternated every five minutes — behaviour the published account calls very unusual for an internal error.
THE STATUS PAGE WENT DOWN TOO
Cloudflare’s status page, hosted completely off Cloudflare’s infrastructure with no dependencies on it, went down at the same time. The published account calls this a coincidence.
RECENT DDoS ACTIVITY
In the internal incident chat room the team was concerned this might continue the recent spate of high-volume Aisuru DDoS attacks.
Inferred sequence: the attack hypothesis is what the published account says the team held at the time. Naming it here is not a criticism of holding it, and the account is explicit that no cyber attack or malicious activity was involved.
Cloudflare, “Cloudflare outage on November 18, 2025”, incident timeline and status-page section. All times UTC.
08
Notes: The gap on this page is the most useful number in the review. Detection took three minutes: impact began at eleven twenty-eight and the first automated test fired at eleven thirty-one, with a human on it the following minute and an incident call four minutes later. Identifying which module was failing took two hours and fifty-three minutes beyond that. The alerting worked; the hypothesis is what cost the time, and the account names three reasons without excusing any of them. The failure alternated every five minutes as good and bad files took turns, which does not look like a code defect. Cloudflare's status page, which is hosted completely off Cloudflare's infrastructure with no dependencies on it, went down at the same moment by coincidence, which made it look as though something was targeting both. And the internal incident channel was already primed by a recent run of very large Aisuru denial-of-service attacks. Holding an attack hypothesis in that situation was reasonable; naming it here is not a criticism of holding it.

## Slide 9
A query that filtered on table name but not database name became an unhandled panic in the core proxy
Access change made explicit
Query returns duplicate rows
Feature file doubles in size
200-feature limit exceeded
Thread panics, 5xx returned
THE QUERY
SELECT name, type FROM system.columns WHERE table = 'http_requests_features' order by name;
The feature-file query filtered on the table name but not the database name, so after the 11:05 change made access to the r0 database explicit it returned columns twice.
THE LIMIT
thread fl2_worker_thread panicked: called Result::unwrap() on an Err value
The bots module preallocates memory for at most 200 features, well above the roughly 60 in use. The oversized file hit that limit and the check produced an unhandled error.
Observed facts: the access change, the query form, the file growth and the 200-feature limit are each stated in the published account. The order that connects them into one chain is that account’s own inferred sequence.
Cloudflare, “Cloudflare outage on November 18, 2025”, query-behaviour-change and memory-preallocation sections.
09
Notes: Five stages, each of which behaved exactly as written. At eleven oh five a change made previously implicit permissions on the underlying database explicit, so users could now see metadata for tables in the r0 database as well as the default one. The query that builds the Bot Management feature file selects column names and types from the system columns table, filtered on the table name but not on the database name — the fragment on the left is the published query, and the missing database predicate is the whole story. With the new permissions, that query began returning the same columns twice, and the feature file's row count more than doubled. The bots module preallocates memory for at most two hundred machine-learning features as a performance optimisation, against roughly sixty in use, and the oversized file crossed that limit. The FL2 check on that limit produced an unhandled error and the thread panicked, which is the line on the right, and every request that depended on the bots module returned a five hundred. Each of those five facts is stated in the published account; the order that connects them is that account's own inferred sequence.

## Slide 10
Four conditions had to hold at once, and no single one of them is the cause
TECHNICAL
An assumption about the query’s scope was never restated
The feature-generation query assumed table metadata would only ever be returned for the default database. That assumption was not revisited when the permissions model changed at 11:05.
TECHNICAL
A fixed limit guarded memory but had no bounded failure path
The bots module preallocates memory for at most 200 machine-learning features. An input above that limit produced an unhandled error and a thread panic, not a rejected file or a degraded score.
PROCEDURAL
Cloudflare-generated configuration was trusted more than user input
The first published remediation item is to harden ingestion of Cloudflare-generated configuration files in the same way as user-generated input — which states that, before this incident, it was not.
PROCEDURAL
The change propagated gradually, so the failure looked like an attack
Only the updated part of the ClickHouse cluster produced bad data, so output alternated every five minutes and the failure signature resembled an attack rather than a deployment.
Each factor traces to the timeline evidence on slides 6 and 7, and no single one of them is described here as the cause.
Cloudflare, “Cloudflare outage on November 18, 2025”, query-behaviour, memory-preallocation and remediation sections.
10
Notes: Four conditions had to hold at once, and the review deliberately does not collapse them into one. Two are properties of code. An assumption about the query's scope, made years earlier and never restated, meant nobody revisited it when the permissions model changed. And a fixed limit that guarded memory had no bounded failure path behind it, so an input above the limit produced a panic rather than a rejected file or a degraded bot score. Two are properties of process. Configuration that Cloudflare generates for itself was validated less rigorously than configuration a customer supplies — we know this because the first published remediation item is to harden it in the same way as user-generated input, which states plainly that before this incident it was not. And the permissions change rolled out gradually across the cluster, so the output alternated and the failure signature looked like an attack rather than a deployment. Every one of these traces back to evidence on the timeline pages, and none of them is described here as the cause.

## Slide 11
Rapid global propagation of internally generated configuration is the condition both 2019 and 2025 share
SYSTEMIC CONDITION
Internally generated configuration reaches every machine in minutes
Both outages began inside Cloudflare’s own configuration path, and in both the step that made a local defect global was the same. Naming that shared condition is an inference across two published accounts.
2 July 2019
TRIGGER
A new WAF managed rule containing a regular expression that backtracked enormously and exhausted CPU worldwide.
PROPAGATION
Pushed through Quicksilver, which distributes changes globally in seconds; by design the WAF skipped the staged rollout process.
MITIGATION
A global kill switch — a “global terminate” — executed at 14:07; traffic and CPU normal again by 14:09.
TIME TO RECOVERY
27 minutes
18 November 2025
TRIGGER
A database permissions change that made the Bot Management feature file more than double in size.
PROPAGATION
The feature file is refreshed every few minutes and published to the entire network so the model can react to new bots and new bot attacks.
MITIGATION
No per-feature kill switch is described; the remediation commits to enabling more global kill switches.
TIME TO RECOVERY
5 h 38 min
The published account calls this Cloudflare’s worst outage since 2019, and the first in six-plus years to stop most core traffic.
Cloudflare, “Cloudflare outage on November 18, 2025”, and “Details of the Cloudflare outage on July 2, 2019”. All times UTC.
11
Notes: The fourth factor from the previous page is the one that outlives this incident, so it becomes the subject here. Compare the two outages. In July two thousand nineteen, a new firewall rule containing a regular expression that backtracked enormously exhausted processor capacity on every core handling web traffic worldwide. It was distributed through Quicksilver, which pushes changes globally in seconds, and by design the firewall skipped the staged rollout process because it has to answer threats fast. The mitigation was a global kill switch, executed at fourteen oh seven, with traffic and processor levels back to normal two minutes later; twenty-seven minutes end to end. In November two thousand twenty-five, a database permissions change more than doubled a feature file that is refreshed every few minutes and published to the entire network for the same reason — so the model can react to new bots quickly. This time there was no per-feature kill switch to reach for, which is why the second published remediation item is to enable more of them. Six years apart, different triggers, same mechanism turning a local defect into a global one. Naming that shared condition is an inference drawn across two published accounts, not a claim either account makes.

## Slide 12
Three controls limited the damage and are the ones to protect
PROTECT THIS
Automated detection was fast
The first automated test detected the issue at 11:31, three minutes after impact began at 11:28. Manual investigation started the following minute and the incident call was created at 11:35.
PROTECT THIS
A bypass existed and was used
At 13:05, internal system bypasses failed Workers KV and Cloudflare Access back to a prior version of the core proxy, reducing impact for every downstream system — before the trigger was known.
PROTECT THIS
The older engine degraded, not failed
Customers on the old FL proxy engine did not see errors, and customers who were not using the bot score in their rules saw no impact at all.
Observed facts from the published account; the judgement that these three are worth protecting is this review’s.
Cloudflare, “Cloudflare outage on November 18, 2025”, incident timeline and other-impact section. All times UTC.
12
Notes: A review that lists only failures teaches the wrong lesson, so three things are worth protecting. Automated detection worked and worked fast: three minutes from impact to the first alert, with a human investigating one minute later. A bypass path existed and was actually used — at thirteen oh five internal bypasses failed Workers KV and Cloudflare Access back to a prior version of the core proxy, which reduced impact for every system that depends on Workers KV, including Access itself, and it was done before anyone knew what the trigger was. And the older proxy generation degraded instead of failing outright: customers on FL saw no errors, and customers who were not using the bot score saw no impact at all. Each of those is an observed fact from the published account. The judgement that they are worth protecting is this review's.

## Slide 13
Four corrective actions are published, and none of them carries an owner, a date, or a verification method
Published corrective action | Class | Factor addressed | Owner | Due | Verification
Hardening ingestion of Cloudflare-generated configuration files in the same way as user-generated input | Prevention | Generated configuration trusted more than user input | NO DATA | NO DATA | NO DATA
Enabling more global kill switches for features | Mitigation | Rapid global propagation with no per-feature switch | NO DATA | NO DATA | NO DATA
Eliminating the ability for core dumps or other error reports to overwhelm system resources | Mitigation | Observability CPU use during the incident | NO DATA | NO DATA | NO DATA
Reviewing failure modes for error conditions across all core proxy modules | Prevention | Unbounded failure path in a core proxy module | NO DATA | NO DATA | NO DATA
The published account lists these four remediation items and no more. It states no owner, no target date and no verification method for any of them, so those three columns are recorded as NO DATA rather than dropped.
Cloudflare, “Cloudflare outage on November 18, 2025”, remediation and follow-up steps. Factor mapping is this review’s.
13
Notes: Cloudflare publishes four commitments, and this page maps each one to the factor it addresses. Hardening the ingestion of Cloudflare-generated configuration files the way user-generated input is hardened answers the validation factor and is prevention. Enabling more global kill switches for features answers the propagation factor and is mitigation. Eliminating the ability for core dumps and error reports to overwhelm system resources answers the latency effect and is also mitigation. Reviewing failure modes for error conditions across all core proxy modules answers the unbounded failure path and is prevention. The three columns on the right are the point of the page. A corrective action a review can hold anyone to needs an owner, a date, and a way to verify that it happened, and the published account states none of those for any of the four. Those columns read NO DATA rather than being quietly dropped, because an absence that is visible can be chased and an absence that is deleted cannot.

## Slide 14
Five questions the published account does not settle
01
When did impact begin — 11:20 or 11:28?
The opening paragraph states the network began experiencing significant failures at 11:20; the incident timeline records impact starts at 11:28. This deck uses 11:28 for every derived duration and says so on each page that shows one.
02
When was the Workers KV bypass effective — 13:04, 13:05 or 13:10?
The narrative gives 13:04 for the patch and 13:10 for restoration, while the timeline gives 13:05 for the bypass. Three values describe one mitigation, and the published account does not reconcile them.
03
What did the outage cost?
No error count, request volume, affected-customer count, availability figure or financial figure appears anywhere in the published account. NO DATA.
04
Who owns the four corrective actions, and by when?
No owner, target date or verification method is published for any of the four remediation items. NO DATA.
05
Do other core proxy modules share the unbounded failure pattern?
The account commits to reviewing failure modes for error conditions across all core proxy modules, but does not say whether any others were found. Unconfirmed.
Each item names the evidence that would settle it. None is resolved here by inference. Cloudflare, 18 November 2025 account.
14
Notes: Five things this record does not settle. Two are internal inconsistencies in the published timestamps. The opening paragraph says the network began experiencing significant failures at eleven twenty, while the incident timeline records impact starting at eleven twenty-eight; this deck uses eleven twenty-eight for every derived duration and says so wherever a duration appears. And the Workers KV bypass has three times attached to it — thirteen oh four for the patch, thirteen oh five for the bypass in the timeline, thirteen ten for restoration — describing one mitigation. Three are absences. No error count, request volume, affected-customer figure, availability number, or financial figure is published, so the cost of the outage is unknown. No owner, date, or verification method is attached to any corrective action. And the account commits to reviewing failure modes across all core proxy modules without saying whether any other module shares the same unbounded pattern, so that remains unconfirmed. Each item names the evidence that would settle it, and none of them is closed here with a plausible narrative.

## Slide 15
Every figure in this deck traces to one of three published records
PRIMARY SOURCE
Cloudflare outage on November 18, 2025 — Matthew Prince, 18 November 2025
https://blog.cloudflare.com/18-november-2025-outage/
Supports slides 1–10 and 12–14: the timeline, the impact table, the mechanism, the factors, the controls and the actions.
COMPARISON SOURCE
Details of the Cloudflare outage on July 2, 2019
https://blog.cloudflare.com/details-of-the-cloudflare-outage-on-july-2-2019/
Supports slide 11: the 2019 trigger, the Quicksilver propagation path, the global kill switch and the 27-minute recovery.
OPERATOR STATUS RECORD
Cloudflare System Status
https://www.cloudflarestatus.com/
Listed as the operator’s own event record; not consulted for any figure in this deck.
All times in this deck are UTC to the minute, exactly as published. Elapsed durations are arithmetic on published timestamps and are labelled as derived. No figure originates outside these documents; where the account states no value, the page says NO DATA or marks the item unconfirmed. The schematic chart on slide 5 carries no published magnitudes, and the severity bands on slides 5 to 7 are this review’s reading of the published status column.
Cloudflare official post-incident accounts, 2 July 2019 and 18 November 2025. All times UTC.
15
Notes: Everything in this deck is one click from its source. The primary record is Cloudflare's own post-incident account of the eighteenth of November, written by Matthew Prince, and it supports every page except the comparison. The second of July two thousand nineteen account supports the comparison page: the firewall rule, the Quicksilver propagation path, the global kill switch, and the twenty-seven minute recovery. The Cloudflare status page is listed as the operator's own event record, and it was deliberately not consulted for any figure here, so nothing in this deck depends on a page that was itself unavailable during the incident. The rules the deck follows are on the page. Times are Coordinated Universal Time to the minute, exactly as published. Elapsed durations are arithmetic and are labelled as derived. Nothing originates outside these documents, and where the account states no value the page says NO DATA or marks the item unconfirmed. The schematic chart carries no published magnitudes, and the four severity states used on the strip and in the tables are this review's reading of the published status column, not a scale Cloudflare defines.